## Slide 2
Smart Water Management System: IoT-Based Tank Monitoring and Pump Automation

## Slide 3
INTRODUCTION OF PROJECT
The Smart Water Management System (SWMS) is an innovative and user-friendly solution designed to optimize water usage and provide peace of mind for homeowners. This system utilizes a network of sensors and a mobile app to monitor water levels, automate pump operation, and eliminate the need for manual intervention.

## Slide 4
Process Model.

## Slide 5
Use Case Diagram

## Slide 6
Business Rules Catalog
· The automated system will have the following functional requirements:
· Continuously monitor the water level in the roof tank using an ultrasonic sensor.
· Automatically start the water pump when the water level falls below a predefined threshold in the roof tank.
· Monitor water flow in the pipe using a water flow sensor and stop the pump when there is no water flow (indicating that the ground tank is empty).
· Automatically stop the water pump when the water level rises above a predefined threshold to prevent water overflow.

## Slide 7
Architectural Design

## Slide 8
Project Schedule

## Slide 9
Sequence Diagrams

## Slide 10
System State Machine Diagram

## Slide 11
Entity-Relationship Diagram

## Slide 12
Circuit Diagram

## Slide 13
User Interfaces

## Slide 14
Tools
Potential Tools Used:
Hardware Development:
  Microcontrollers (e.g., Arduino, ESP32): For collecting sensor data and controlling actuators.
  Sensors (e.g., ultrasonic, flow rate): To measure water level and flow.
  Actuators (e.g., solenoid valves,Relay moduel): To control water flow.
  Breadboards and jumper wires: For prototyping circuits.
  Multimeter: For testing electrical connections.
  Soldering iron (optional): For building permanent circuits.
Software Development:
  Integrated Development Environment (IDE) (e.g., Arduino IDE, Visual Studio Code): For writing, compiling, and uploading code to the microcontroller.
  Programming Language (e.g., C++, Arduino C): For programming the microcontroller.
  IoT Platform (e.g., Blynk, ThingSpeak): For data visualization, remote control, and automation.
  Version Control System (e.g., Git): For managing code changes and collaboration (if applicable).
Testing and Debugging:
  Serial Monitor: To view sensor readings and debug code.